## Sheet1
| Parameter | Range | Challenges |  | Treatment
Quality of Greywater | Chemical Oxygen Demand (COD) (mg/L) | 254 -618 | Greywater-Related Health Risks | existence of pathogens originating from fecal contamination, mucus, and food preparation | Treatment of Greywater | Physical | Screens and large-pore filters Filtration and reverse osmosis (RO)
| Biological Oxygen Demand (BOD) (mg/L) | 5 - 431 |  |  |  |  | Screens and large-pore filters Filtration and reverse osmosis (RO)
| pH | 6.4-8.1 |  | presence of micro pollutants and metals in greywater |  | Chemical | Coagulation Advanced Oxidation Processes
| Pathogens (TC) (CFU/100ml) | 3x103 - 2.4x107 |  |  |  |  | Coagulation Advanced Oxidation Processes
| Fats, oil, and Grease (mg/L) | 50 - 100 | Greywater-Related Environmental Risks | effects on groundwater |  | Biological/Physical | Constructed Wetlands (CW) Rotating Biological Reactor
| Electrical Conductivity (µS/cm) | 4 - 3000 |  |  |  |  | Constructed Wetlands (CW) Rotating Biological Reactor
| Solids (mg/L) | 15 - 990 |  | effects on plant growth |  |  | Membrane Bioreactor (MBR)
| Temperature (°C) | 18-38 |  |  |  | Disinfection | Chlorination
| Turbidity (NTU) | 14-296 |  | effects on Soil |  |  | UV
| Sodium (mg/L) | 120-199 |  |  |  |  | Ozonation
Hydrogen peroxide plus